## InvalidDistributionLine
sourceFeatureClass | errorMessage | sourceGlobalID | UNFeatureClass | ASSETGROUP | ASSETTYPE | SUBTYPECD | PHASESNORMAL | X | Y | errorTransformer
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {1820EE5F-3976-494F-A3A6-1D8E9F6122B7} | [6 empty] | 1028270.2767 | 1863413.3791 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {769C3C57-3319-4827-A1C4-502BF409C15A} | [6 empty] | 1028308.1442 | 1863428.5961 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {9E49EE91-11AF-43A3-B390-19E1B4F3B453} | [6 empty] | 1028272.9319 | 1863407.6008 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {0C7E820B-DA8A-4AA6-BE65-9D16B31D559C} | [6 empty] | 1028311.0569 | 1863423.0174 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {37100A48-A9AB-4DF7-9F8A-06924AB0CDDE} | [6 empty] | 1028278.5569 | 1863410.9341 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {73DE042A-12D7-4F3C-A990-7779C71D0367} | [6 empty] | 1028272.9319 | 1863407.6008 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {BEF089A8-7B10-4C6F-B807-4988630C711D} | [6 empty] | 1028304.1819 | 1863419.6841 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {4D249238-BBE3-472E-A97E-134400CB37A9} | [6 empty] | 1028311.0569 | 1863423.0174 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {A00C7405-0480-437B-9C50-92F8C4240F8A} | [6 empty] | 1028276.0569 | 1863401.3508 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {A2723491-FE36-4AE5-9B0F-84947FB203CC} | [6 empty] | 1028280.3025 | 1863407.085 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {B6EAE06E-100C-4B66-8779-5715C1678B7B} | [6 empty] | 1028277.7235 | 1863398.0174 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {768A3D81-5BDD-411D-AE08-FD0C3D45F391} | [6 empty] | 1028274.6775 | 1863404.3766 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {59737237-879A-406D-806F-F9E0735BD8CA} | [6 empty] | 1028314.1819 | 1863412.1841 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {EBCC575F-3EB5-4A11-B94D-AEB31AEA75C5} | [6 empty] | 1028312.2149 | 1863415.1059 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {8D5E14F2-5C52-4BD4-AA4E-3444AD9B52EF} | [6 empty] | 1034799.3668 | 1871733.4146 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {12E7D798-4CF4-482B-A9CC-6F7A7DB5FDFD} | [6 empty] | 1034799.8456 | 1871744.1168 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {C780032C-0566-4A7B-96F0-E965ADEE8D25} | [6 empty] | 1034767.4038 | 1871603.0038 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {C6407826-E459-48A5-AE59-3EDA328DC171} | [6 empty] | 1034767.3309 | 1871608.4739 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {CC64FADA-917A-4B39-9267-0157B77619E1} | [6 empty] | 1034799.2873 | 1871695.7769 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {F7903978-8A76-4C99-9AE5-04CF0E675F1C} | [6 empty] | 1034799.8456 | 1871744.1168 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {940CB5C4-80D8-44BA-90D3-1B24474CFBAD} | [6 empty] | 1034767.4038 | 1871603.0038 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {47E3D3FB-97C8-40A2-9BD5-094B87AEAE6E} | [6 empty] | 1034850.0859 | 1871842.3394 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {19993637-F802-49BC-A18C-5C3639F14516} | [6 empty] | 1034813.454 | 1871842.1658 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {86D0EE47-2336-48BF-A163-D36C4453C6FB} | [6 empty] | 1034799.2873 | 1871695.7769 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {AA159839-AF10-40C2-9CD0-2F8F6CBEFD02} | [6 empty] | 1034725.112 | 1871696.4714 | TestFilter_18
BusBar | Warn: Busbar: substation busbars are not migrated GlobalID: {0214BEBF-A478-4C25-8BEE-4DE4CEBB717A} | [6 empty] | 1034850.0859 | 1871842.3394 | TestFilter_18
PriUGElectricLineSegment | WARN: Line: Very short line segment GlobalID: {6402ED68-CED4-4AA4-8BA2-E12B7484AC27} less than 0.1295427762085489. Likely will cause topology errors | {6402ED68-CED4-4AA4-8BA2-E12B7484AC27} | Line | 5 | 164 | 1 | 4 | 1027822.2365 | 1871073.5657 | PointOnLineOverlayer_3
SecUGElectricLineSegment | WARN: Line: Very short line segment GlobalID: {D2CE6BF7-BD8C-4EFF-B2F3-0AE83EF3041C} less than 0.1015017767542287. Likely will cause topology errors | {D2CE6BF7-BD8C-4EFF-B2F3-0AE83EF3041C} | Line | 3 | 164 | 1 | 4 | 1027822.2365 | 1871073.5657 | PointOnLineOverlayer_3
PriOHElectricLineSegment | WARN: Line: Very short line segment GlobalID: {A85C5244-9362-4041-84D0-D3F7BDF6080E} less than 0.2380482974778731. Likely will cause topology errors | {A85C5244-9362-4041-84D0-D3F7BDF6080E} | Line | 5 | 162 | 3 | 7 | 1034486.982 | 1870238.6497 | PointOnLineOverlayer_3
PriOHElectricLineSegment | WARN: Line: Very short line segment GlobalID: {CD50EF48-11D4-4DBC-8584-78C16C63528D} less than 0.12219550983649079. Likely will cause topology errors | {CD50EF48-11D4-4DBC-8584-78C16C63528D} | Line | 5 | 162 | 3 | 7 | 1025112.9539 | 1862447.9262 | PointOnLineOverlayer_3
PriOHElectricLineSegment | WARN: Line: Very short line segment GlobalID: {01ECE233-463E-429F-A0D2-6AF6BECF7E10} less than 0.12219608003775312. Likely will cause topology errors | {01ECE233-463E-429F-A0D2-6AF6BECF7E10} | Line | 5 | 162 | 3 | 7 | 1025112.9539 | 1862447.9262 | PointOnLineOverlayer_3
PriOHElectricLineSegment | WARN: Line: Very short line segment GlobalID: {2C13ED42-2905-4945-B7EB-390575E6F56C} less than 0.23754075576805644. Likely will cause topology errors | {2C13ED42-2905-4945-B7EB-390575E6F56C} | Line | 5 | 162 | 3 | 7 | 1024751.3345 | 1861922.1456 | PointOnLineOverlayer_3
PriOHElectricLineSegment | WARN: Line: Very short line segment GlobalID: {5C3C7BF9-A7BB-4B20-8389-31D6311CF299} less than 0.17205252039368277. Likely will cause topology errors | {5C3C7BF9-A7BB-4B20-8389-31D6311CF299} | Line | 5 | 162 | 3 | 7 | 1035005.5425 | 1864622.558 | PointOnLineOverlayer_3
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {376889E7-6A5D-4A41-9677-3F63C6963F4A} (split complex edges before processing) New ID created: {000246AC-D3DD-4546-9CCE-99F153A1426C} | {376889E7-6A5D-4A41-9677-3F63C6963F4A} | Line | 5 | 161 | 1 | 1 | 1035080.9234 | 1866668.3923 | DuplicateFilter
PriUGElectricLineSegment | WARN: Conductor: Duplicate globalID: {1C99AF06-E7E2-4FBE-AAA3-45223F5C9B39} (split complex edges before processing) New ID created: {D4222B65-D480-434B-8EF4-D9666B31D83B} | {1C99AF06-E7E2-4FBE-AAA3-45223F5C9B39} | Line | 5 | 165 | 2 | 7 | 1032985.7892 | 1865301.0234 | DuplicateFilter
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {92ABD154-D440-488C-B56B-1008D3603382} (split complex edges before processing) New ID created: {E9EFD355-D1F2-49C5-A98B-AEEA347F39BE} | {92ABD154-D440-488C-B56B-1008D3603382} | Line | 5 | 162 | 3 | 7 | 1019051.5208 | 1862958.9924 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {51F5862F-42D9-4E1A-9D7D-7905F4C26DFB} (split complex edges before processing) New ID created: {8296E000-C450-4864-8F4D-C89494F4CA1D} | {51F5862F-42D9-4E1A-9D7D-7905F4C26DFB} | Line | 3 | 161 | 1 | 2 | 1034224.4959 | 1865975.8764 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {3BBFDFFC-AFAF-4A10-B48A-71943BF09603} (split complex edges before processing) New ID created: {1CE3255E-F175-48B1-9173-4110393EE448} | {3BBFDFFC-AFAF-4A10-B48A-71943BF09603} | Line | 3 | 161 | 1 | 2 | 1034237.683 | 1866429.6037 | DuplicateFilter
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {0CB8EBCF-D4E3-4494-8CBE-3F13534ABD87} (split complex edges before processing) New ID created: {7CBD2DAE-11DB-4FE2-A06D-358C5582532F} | {0CB8EBCF-D4E3-4494-8CBE-3F13534ABD87} | Line | 5 | 161 | 1 | 4 | 1035471.5437 | 1860636.18 | DuplicateFilter
PriUGElectricLineSegment | WARN: Conductor: Duplicate globalID: {E3F051D8-323C-4885-A405-1152C2BFE25E} (split complex edges before processing) New ID created: {E0CA5D73-822D-4786-A7D4-F6281C381826} | {E3F051D8-323C-4885-A405-1152C2BFE25E} | Line | 5 | 164 | 1 | 4 | 1029544.2762 | 1864046.8794 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {6BA407B9-DBCF-4897-93A5-6A04A8BDC3FF} (split complex edges before processing) New ID created: {69CD2D6A-3548-4C36-B0BC-BC4AB01DA67B} | {6BA407B9-DBCF-4897-93A5-6A04A8BDC3FF} | Line | 3 | 161 | 3 | 1 | 1034548.2373 | 1866363.5129 | DuplicateFilter
SecUGElectricLineSegment | WARN: Conductor: Duplicate globalID: {7B4B5EFA-39FA-475F-B43D-C955E9B83CCF} (split complex edges before processing) New ID created: {940CC647-2CA8-4130-AD84-7D92268D1E38} | {7B4B5EFA-39FA-475F-B43D-C955E9B83CCF} | Line | 3 | 164 | 3 | 2 | 1035419.4802 | 1864538.477 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {F34D5129-D126-490B-A01C-6A68527E9D17} (split complex edges before processing) New ID created: {A0980B9F-BE1E-48D3-8706-C2EAA8735FF8} | {F34D5129-D126-490B-A01C-6A68527E9D17} | Line | 3 | 161 | 1 | 2 | 1037373.794 | 1861963.6726 | DuplicateFilter
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {F7801FBF-F145-4DBD-A70A-3DD92F37B66A} (split complex edges before processing) New ID created: {6D70CD0A-494F-4D88-8A18-1492DE2C6AC1} | {F7801FBF-F145-4DBD-A70A-3DD92F37B66A} | Line | 5 | 162 | 3 | 7 | 1024765.8952 | 1861928.3447 | DuplicateFilter
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {0AC992C7-5345-46CC-93D4-8E6638AD65F3} (split complex edges before processing) New ID created: {EED150FC-B1AA-4B40-A749-B08B84671EDB} | {0AC992C7-5345-46CC-93D4-8E6638AD65F3} | Line | 5 | 162 | 3 | 7 | 1032888.8531 | 1861710.2345 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {B9F789A4-5052-48AE-BC41-E9CD978350F0} (split complex edges before processing) New ID created: {119D9FFE-F19E-4171-B1D8-1EC1951E109B} | {B9F789A4-5052-48AE-BC41-E9CD978350F0} | Line | 3 | 161 | 3 | 1 | 1034551.2308 | 1866679.9675 | DuplicateFilter
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {AF866618-731D-4595-AD32-FD06F89685A2} (split complex edges before processing) New ID created: {3F456B25-3897-4D4D-B96A-0905C6FE1C00} | {AF866618-731D-4595-AD32-FD06F89685A2} | Line | 5 | 161 | 1 | 2 | 1037396.6052 | 1862255.7989 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {AF091F7D-FC01-49AD-A76C-D67EB8BF821D} (split complex edges before processing) New ID created: {6F22A3AE-D981-4881-8756-A4894CF5B854} | {AF091F7D-FC01-49AD-A76C-D67EB8BF821D} | Line | 3 | 161 | 1 | 2 | 1034249.8658 | 1866838.3832 | DuplicateFilter
PriOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {196F61A6-20FF-4C95-AE91-079FC5E7CABD} (split complex edges before processing) New ID created: {7ABB58CF-5A33-4183-9E5E-F400C786FEF8} | {196F61A6-20FF-4C95-AE91-079FC5E7CABD} | Line | 5 | 161 | 1 | 2 | 1038104.1432 | 1861777.1856 | DuplicateFilter
SecOHElectricLineSegment | WARN: Conductor: Duplicate globalID: {ACAA5FB9-C659-4F66-9CE8-BB243AF4A073} (split complex edges before processing) New ID created: {E740523F-AB28-4CDB-9796-5E0B5424FA56} | {ACAA5FB9-C659-4F66-9CE8-BB243AF4A073} | Line | 3 | 161 | 1 | 4 | 1032879.253 | 1861293.6215 | DuplicateFilter

## InvalidUnitTables
sourceFeatureClass | errorMessage | sourceGlobalID | UNFeatureClass | ASSETGROUP | ASSETTYPE | SUBTYPECD | PHASESNORMAL | errorTransformer
FuseUnit | WARN: Unit Table with no corresponding Device GlobaleID: {185A677D-8844-4F48-B6B5-A69B472ECB8A} | {185A677D-8844-4F48-B6B5-A69B472ECB8A} | Device | 5 | 161 | 1 | 4 | FeatureMerger_2

## InvalidJunctions
sourceFeatureClass | errorMessage | sourceGlobalID | UNFeatureClass | ASSETGROUPDESC | ASSETTYPEDESC | X | Y | errorTransformer
Switch | WARN: Device Junctions: cannot find valid junction types for "Switch Bank" "Overhead Switch" GlobalID: {3861FF16-231E-4D62-B7C2-37A36DB4C0DD} | {3861FF16-231E-4D62-B7C2-37A36DB4C0DD} | Assembly | Switch Bank | Overhead Switch | 1028274.6775 | 1863404.3766 | TestFilter_4
Switch | WARN: Device Junctions: cannot find valid junction types for "Switch Bank" "Overhead Switch" GlobalID: {8ADF890D-DC3B-4ACB-8E9F-F8BA67902C6A} | {8ADF890D-DC3B-4ACB-8E9F-F8BA67902C6A} | Assembly | Switch Bank | Overhead Switch | 1028280.3025 | 1863407.085 | TestFilter_4
Switch | WARN: Device Junctions: cannot find valid junction types for "Switch Bank" "Overhead Switch" GlobalID: {116985FC-C15E-4B28-AB0A-1D4E2847387A} | {116985FC-C15E-4B28-AB0A-1D4E2847387A} | Assembly | Switch Bank | Overhead Switch | 1028305.6402 | 1863416.5591 | TestFilter_4
Switch | WARN: Device Junctions: cannot find valid junction types for "Switch Bank" "Overhead Switch" GlobalID: {1EDE81AF-E161-47CB-A860-5140DAFEF2A5} | {1EDE81AF-E161-47CB-A860-5140DAFEF2A5} | Assembly | Switch Bank | Overhead Switch | 1028312.7235 | 1863419.8924 | TestFilter_4
| Junction : ERROR: Can't create Splice / Wire Change Junction. Invalid Line connections Line0 GlobalID: {FD32E6AB-F4B1-4ADF-B9AC-6C1A5109AA47} Line1 GlobalID: {C8546309-56B3-4713-B901-ACF170A6F2B0} |  |  |  |  | 1032276.9342 | 1867978.8031 | TestFilter_55

## InvalidDevices
sourceFeatureClass | errorMessage | sourceGlobalID | UNFeatureClass | ASSETGROUP | ASSETTYPE | SUBTYPECD | PHASESNORMAL | X | Y | errorTransformer
DynamicProtectiveDevice | Device : WARN: Missing Structure on Device GLOBALID: {320E0040-04E4-4E0D-B5BA-09253A19E3C3} | {320E0040-04E4-4E0D-B5BA-09253A19E3C3} | Assembly | 8 | 284 | 6 | 7 | 1017749.577 | 1863047.7654 | FeatureMerger_4
DynamicProtectiveDevice | Device : WARN: Missing Structure on Device GLOBALID: {CB013FBA-65AD-4184-80A0-9CD86EE87CA6} | {CB013FBA-65AD-4184-80A0-9CD86EE87CA6} | Assembly | 8 | 284 | 3 | 4 | 1016245.3019 | 1868654.6309 | FeatureMerger_4
Fuse | Device : WARN: Missing Facility on Device GLOBALID: {F18C7F52-9DB4-4B79-89BD-09728F6A4E7D} | {F18C7F52-9DB4-4B79-89BD-09728F6A4E7D} | StructureJunction | 112 | 441 | 3 | 4 | 1016396.3993 | 1868614.7164 | FeatureMerger_5
Switch | Device : WARN: Missing Facility on Device GLOBALID: {C04FA0EF-F3B2-487B-B45F-74B238AEFD0E} | {C04FA0EF-F3B2-487B-B45F-74B238AEFD0E} | StructureJunction | 112 | 441 | 4 | 7 | 1016423.3422 | 1868575.1002 | FeatureMerger_5