## Assettypes
UNFeatureClass | assetgroupValue | assetgroupDesc | assettypeValue | assettypeDesc | ArcGISFeatureClass | PrimaryAttrName | PrimaryAttrValue | SecondaryAttrName | SecondaryAttrValue | TertiaryAttrName | TertiaryAttrValue | assetTypeAttr | assetgroupAttr | FeatureTypeAttr | assetTypeDescAttr | assetGroupDescAttr
WaterLine | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 50 | Bonding Line | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 50 | Bonding Line | 941 | Wire | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 50 | Bonding Line | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 50 | Bonding Line | 941 | Wire | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 1 | Water Main | 1 | Transmission Main | wMain | TRANSMISS | Yes |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 1 | Water Main | 1 | Transmission Main | wAbandonedLine | TRANSMISS | Yes |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 1 | Water Main | 2 | Distribution Main | wMain | TRANSMISS | No |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 1 | Water Main | 2 | Distribution Main | wMain | TRANSMISS | <Null> |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 1 | Water Main | 2 | Distribution Main | wAbandonedLine | TRANSMISS | No |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 1 | Water Main | 3 | Production | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 11 | Residential Service | wLateralLine | LINETYPE | Domestic |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 12 | Commercial Service | wLateralLine | LINETYPE | Commercial |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 13 | Industrial Service | wLateralLine | LINETYPE | Industrial |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 14 | Fire Service | wLateralLine | LINETYPE | Fire |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 15 | Hydrant Service | wLateralLine | LINETYPE | Hydrant |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 16 | Irrigation Service | wLateralLine | LINETYPE | Irrigation |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 17 | Sampling Service | wLateralLine | LINETYPE | Other |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 18 | Blow Off Service | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterLine | 2 | Service | 19 | Air & Vacuum Service | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 1 | Flow Valve | 0 | Unknown | wControlValve | [6 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 1 | Flow Valve | 1 | Air Gap | wControlValve | VALVETYPE | Air Gap |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 1 | Flow Valve | 2 | Altitude | wControlValve | VALVETYPE | Altitude |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 1 | Flow Valve | 3 | Check | wControlValve | VALVETYPE | Single Check |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 0 | Unknown | wControlValve | VALVETYPE | Double Check |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 41 | Bulk | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 42 | Commercial | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 43 | DMA | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 44 | Emergency Connection | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 45 | Industrial | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 46 | Master | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 47 | Pump Station | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 48 | Residential | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 10 | Meter | 81 | Strainer | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 17 | Filter | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 17 | Filter | 81 | Strainer | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 18 | Controller | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 18 | Controller | 121 | Bypass Valve | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 18 | Controller | 122 | Operator Nut | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 0 | Unknown | wCurbStopValve | [6 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 0 | Unknown | wControlValve | VALVETYPE | CLA |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 161 | Blow Off | wControlValve | VALVETYPE | Blowoff |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 164 | Hydrant | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 167 | Isolation Zone | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 169 | Supply | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 170 | System | wSystemValve | VALVETYPE | Gate |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 170 | System | wSystemValve | VALVETYPE | <Null> |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 171 | Sampling | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 172 | Pressure Zone | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 173 | Bypass | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 174 | Purge | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 175 | Interconnect | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 2 | Controllable Valve | 176 | Service | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 4 | Station | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 4 | Station | 241 | Sample Station | wSamplingStation | [6 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 5 | Pump | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 5 | Pump | 281 | Booster | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 5 | Pump | 282 | Chemical | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 5 | Pump | 283 | Primary | wPump | [6 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 7 | Fire Hydrant | 0 | Unknown | wHydrant | [6 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 7 | Fire Hydrant | 321 | Dry Barrel | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 7 | Fire Hydrant | 321 | Wet Barrel | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 0 | Unknown | wSystemValve | VALVETYPE | Roundway |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 0 | Unknown | wSystemValve | VALVETYPE | Cone |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 0 | Unknown | wSystemValve | VALVETYPE | Butterfly |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 0 | Unknown | wSystemValve | VALVETYPE | Other |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 0 | Unknown | wSystemValve | VALVETYPE | Unknown |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 361 | Automatic Flushing | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 362 | Fire Plug Valve | wSystemValve | VALVETYPE | Plug |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 363 | Hydrant | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 364 | Post Hydrant | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 9 | Flushing and Blow Off | 365 | Blow Off | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 19 | Injection Facility | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 19 | Injection Facility | 401 | Chlorination | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 19 | Injection Facility | 402 | Fluoridation | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 50 | Anode | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 50 | Anode | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 51 | Rectifier | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 51 | Rectifier | 941 | Rectifier | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 52 | Test Point | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 52 | Test Point | 981 | Test Point | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 20 | Storage | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 20 | Storage | 561 | Reservoir | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 20 | Storage | 562 | Standpipe | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 20 | Storage | 563 | Storage Tank | wNetworkStructure | STRUCTTYPE | Enclosed Storage Facility |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 20 | Storage | 564 | Tower | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 15 | Supply | 0 | Unknown | wNetworkStructure | STRUCTTYPE | Intake |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 15 | Supply | 601 | Treatment Plant | wNetworkStructure | STRUCTTYPE | Treatment Plant |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 15 | Supply | 602 | Well | wNetworkStructure | STRUCTTYPE | Production Well |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 8 | Outlet | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 8 | Outlet | 641 | Outlet | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 8 | Outlet | 642 | Yard Hydrant | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 0 | Unknown | wControlValve | VALVETYPE | Unknown |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 0 | Unknown | wControlValve | VALVETYPE | Other |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 201 | Air & Vacuum | wControlValve | VALVETYPE | Air Control |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 202 | Air Release | wControlValve | VALVETYPE | Air Release |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 203 | Combination Air | wControlValve | VALVETYPE | Combination |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 204 | Pressure Limiting | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 205 | Pressure Reducing | wControlValve | VALVETYPE | Pressure Reducer |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 206 | Pressure Release | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 3 | Pressure Valve | 207 | Pressure Sustaining | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 11 | Monitoring | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 11 | Monitoring | 21 | Observation Well | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 11 | Monitoring | 22 | Pressure Sensor | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 11 | Monitoring | 23 | Temperature Sensor | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 11 | Monitoring | 24 | Detection Meter | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 0 | Unknown | wServiceConnection | SERVICETYPE | <Null> |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 0 | Unknown | wServiceConnection | SERVICETYPE | Unknown |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 0 | Unknown | wServiceConnection | SERVICETYPE | Other |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 61 | Commercial | wServiceConnection | SERVICETYPE | Commercial |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 62 | Fire | wServiceConnection | SERVICETYPE | Fire |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 63 | Industrial | wServiceConnection | SERVICETYPE | Industrial |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 64 | Irrigation | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterDevice | 12 | Service Connection | 65 | Residential | wServiceConnection | SERVICETYPE | Domestic |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 0 | Unknown | wFitting | FITTINGTYPE | Over Under |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 0 | Unknown | wFitting | FITTINGTYPE | Unknown |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 0 | Unknown | wFitting | FITTINGTYPE | Other |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 0 | Unknown | wFitting | FITTINGTYPE | <Null> |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 41 | Corporation Stop | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 42 | Coupling | wFitting | FITTINGTYPE | Coupling |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 43 | Cross | wFitting | FITTINGTYPE | Cross |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 44 | Elbow | wFitting | FITTINGTYPE | Bend |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 45 | End Cap | wFitting | FITTINGTYPE | Cap |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 46 | Expansion Joint | wFitting | FITTINGTYPE | Expansion Joint |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 47 | Flange | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 48 | Plug | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 49 | Reducer | wFitting | FITTINGTYPE | Reducer |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 50 | Reducing Cross | wFitting | FITTINGTYPE | Reducing Cross |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 51 | Reducing Tee | wFitting | FITTINGTYPE | Reducing Tee |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 52 | Saddle | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 53 | Screw | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 54 | Sleeve | wFitting | FITTINGTYPE | Sleeve |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 55 | Tap | wFitting | FITTINGTYPE | Tap |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 56 | Tapping Saddle | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 57 | Tee | wFitting | FITTINGTYPE | Tee |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 58 | Transition | wFitting | FITTINGTYPE | Transition |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 59 | Weld | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 20 | Fitting | 60 | Wye | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 50 | Bond Junction | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterJunction | 50 | Bond Junction | 901 | Bond Junction | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 1 | Double Check Detector | 1 | Double Check Detector | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 2 | Double Check Valve | 2 | Double Check Valve | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 3 | Reduced Pressure Detector | 3 | Reduced Pressure Detector | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 4 | Reduced Pressure Zone | 4 | Reduced Pressure Zone | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 41 | Automatic | 41 | Automatic | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 42 | Manual | 42 | Manual | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 81 | Meter Station | 81 | Meter Station | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 121 | Operator Nut | 121 | Operator Nut | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 122 | Operator Nut and Bypass Valve | 122 | Operator Nut and Bypass Valve | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 161 | Pressure Reducing Station | 161 | Pressure Reducing Station | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 201 | Air Vacuum & Air Release | 201 | Air Vacuum & Air Release | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
WaterAssembly | 241 | Fire Hydrant | 241 | Fire Hydrant | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureLine | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureLine | 501 | Water Casing | 0 | Unknown | wCasing | MATERIAL | CP |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureLine | 501 | Water Casing | 1 | Cast Iron - CAS | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureLine | 501 | Water Casing | 2 | Ductile Iron - DI | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureLine | 501 | Water Casing | 3 | Polyvinyl Chloride - PVC | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureLine | 501 | Water Casing | 4 | Steel - SP | wCasing | MATERIAL | SP |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 505 | Water Pump Station | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 505 | Water Pump Station | 41 | Pump Station | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 505 | Water Pump Station | 42 | Booster Station | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 508 | Water Vault | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 508 | Water Vault | 81 | Air Release Valve | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 508 | Water Vault | 82 | Blow Off | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 508 | Water Vault | 83 | Meter Pit | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 508 | Water Vault | 64 | Valve Box | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 501 | Water Access Point | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 501 | Water Access Point | 122 | Manhole Cover | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 501 | Water Access Point | 124 | Door | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 501 | Water Access Point | 125 | Grate | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 501 | Water Access Point | 126 | Hand Hole | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureJunction | 501 | Water Access Point | 127 | Lid | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 0 | Unknown | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 503 | Water Storage Boundary | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 503 | Water Storage Boundary | 1 | Reservoir | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 503 | Water Storage Boundary | 2 | Retention Area | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 503 | Water Storage Boundary | 3 | Storage Tank | wStructure | STRUCTTYPE | Enclosed Storage Facility |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 503 | Water Storage Boundary | 4 | Tower | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 505 | Water Pump Station Boundary | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 505 | Water Pump Station Boundary | 41 | Pump Station | wStructure | STRUCTTYPE | Pump Station |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 505 | Water Pump Station Boundary | 42 | Booster Station | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 507 | Water Supply Boundary | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 507 | Water Supply Boundary | 81 | Treatment Plant | wStructure | STRUCTTYPE | Treatment Plant |  |  |  |  | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 507 | Water Supply Boundary | 82 | Well | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 508 | Water Vault Boundary | 0 | Unknown | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 508 | Water Vault Boundary | 121 | Air Release Valve | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 508 | Water Vault Boundary | 122 | Blow Off | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 508 | Water Vault Boundary | 123 | Meter Pit | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
StructureBoundary | 508 | Water Vault Boundary | 64 | Valve Box | [7 empty] | ASSETTYPE | ASSETGROUP | fme_feature_type | ASSETTYPEDESC | ASSETGROUPDESC
Note on B1: Trent Kading: Required Field. Case sensitive.
Note on C1: Trent Kading: Required Field
Note on D1: Trent Kading: Required Field
Note on E1: Trent Kading: Required Field
Note on F1: Trent Kading: Required Field. Case sensitive. Primary Key for lookup.
Note on G1: Trent Kading: Primary Filter Attribute Name. Case Senstive.
Note on H1: Trent Kading: Primary Filter Attribute Value. Case Senstive.
Note on I1: Trent Kading: Secondary Attribute Filter Name. Case Senstive.
Note on J1: Trent Kading: Secondary Filter Attribute Value. Case Senstive.
Note on K1: Trent Kading: Tertiary Attribute Name Filter. Case Senstive.
Note on L1: Trent Kading: Tertiary Filter Attribute Value. Case Senstive.
Note on M1: Trent Kading: Required Field
Note on N1: Trent Kading: Required Field
Note on O1: Trent Kading: Required Field. Every cell must conain this even if not present in source dataset.
Note on P1: Trent Kading: Required Field
Note on Q1: Trent Kading: Required Field

## Domains
ArcGISFeatureClass | ArcGISAttrName | UNAttrName | ArcGISDesc | ArcGISCode | UNDesc | UNCode | FeatureTypeAttr | SecondaryAttrName | SecondaryAttrValue
| MATERIAL | MATERIAL | Unknown | OTH | Unknown | 0
| MATERIAL | MATERIAL | Asbestos-Cement | AC | Asbestos Cement - AC | 81
| MATERIAL | MATERIAL | Brick | BR | Brick - BR | 82
| MATERIAL | MATERIAL | Cast Iron | CAS | Cast Iron - CAS | 83
| MATERIAL | MATERIAL | Concrete | CP | Concrete (Non-Reinforced) - CP | 85
| MATERIAL | MATERIAL | Concrete Segments(Bolted) | CSB | Concrete Segments (Bolted) - CSB | 86
| MATERIAL | MATERIAL | Concrete Segments(Unbolted) | CSU | Concrete Segments (Unbolted) - CSU | 87
| MATERIAL | MATERIAL | Copper | COP | Copper - COP | 84
| MATERIAL | MATERIAL | Ductile Iron | DIP | Ductile Iron - DIP | 88
| MATERIAL | MATERIAL | Galvinized Pipe | GP | Galvanized Pipe - GP | 89
| MATERIAL | MATERIAL | Pitch Fiber (Orangeburg) | OB | Pitch Fiber (Orangeburg) - OB | 90
| MATERIAL | MATERIAL | Plastic/Steel Composite | PSC | Plastic/Steel Composite - PSC | 91
| MATERIAL | MATERIAL | Polyethylene | PE | Polyethylene - PE | 92
| MATERIAL | MATERIAL | Polyethylene | HPE
| MATERIAL | MATERIAL | Polypropylene | PP | Polypropylene - PP | 93
| MATERIAL | MATERIAL | Polyvinyl Chloride | PVC | Polyvinyl Chloride - PVC | 94
| MATERIAL | MATERIAL | Steel | ST | Steel - SP | 95
| MATERIAL | MATERIAL | Transite | TT | Transite - TTE | 96
| MATERIAL | MATERIAL | Unknown | UNK | Unknown | 0
| MATERIAL | MATERIAL | Wood | WD | Wood - WD | 97
| MATERIAL | MATERIAL | Prestrd Conc Lined Cyl Pipe AWWA C-301 - PCPL |  | Prestrd Conc Lined Cyl Pipe AWWA C-301 - PCPL | 100
| MATERIAL | MATERIAL | Steel Cylinder Reinforced Concrete Pipe - SRC |  | Steel Cylinder Reinforced Concrete Pipe - SRC | 101
| MATERIAL | MATERIAL | High Density Polyethylene - HDP |  | High Density Polyethylene - HDP | 102
| MATERIAL | MATERIAL | Concrete (Non-Reinforced) - CP |  | Unreinforced Concrete Pipe - URC | 103
| MATERIAL | MATERIAL | Fiberglass Reinforced Pipe - FRP |  | Fiberglass Reinforced Pipe - FRP | 104
| MATERIAL | MATERIAL | Reinforced Concrete Pipe - RCP |  | Reinforced Concrete Pipe - RCP | 105
| MATERIAL | MATERIAL | Corrugated Pipe - CORR |  | Corrugated Pipe - CORR | 106
| MATERIAL | MATERIAL | Plastic - PLA |  | Plastic - PLA | 107
| MATERIAL | MATERIAL | Non-Plastic - NPLA |  | Non-Plastic - NPLA | 108
| LIFECYCLESTATUS | LIFECYCLESTATUS | Abandoned | Abandoned | Abandoned | 32
| LIFECYCLESTATUS | LIFECYCLESTATUS | Constructed | Constructed | Constructed | 4
| LIFECYCLESTATUS | LIFECYCLESTATUS | Active | Active | In-Service | 8
| LIFECYCLESTATUS | LIFECYCLESTATUS | Proposed | Proposed | Proposed | 1
wSystemValve | OPERABLE | OPERABLE |  |  | Unknown | 0 | fme_feature_type
wSystemValve | OPERABLE | OPERABLE | TRUE | 1 | Yes | 1 | fme_feature_type
wSystemValve | OPERABLE | OPERABLE | FALSE | 0 | No | 0 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Service | Commercial | Commercial | 2 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Service | Residential | Residential | 1 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Service | Unknown | Unknown | 0 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Service | Domestic | Unknown | 0 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Service | Irrigation | Irrigation | 6 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Service | Industrial | Industrial | 3 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Fire Line | Fire | Fire | 4 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Fire Line | Fire | Fire | 4 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Fire Line | Fire | Fire | 4 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Hydrant | Hydrant | Hydrant | 5 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Hydrant | Hydrant | Hydrant | 5 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Hydrant | Hydrant | Hydrant | 5 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Other | Other | Unknown | 0 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Other | Other | Unknown | 2 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Other | Other | Unknown | 1 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Other | Other | Unknown | 4 | fme_feature_type
wLateralLine | LINETYPE | LINETYPE | Other | Other | Unknown | 6 | fme_feature_type
wSystemValve | VALVETYPE | DESIGNTYPE | Roundway | Roundway | Roundway | 0 | fme_feature_type
wSystemValve | VALVETYPE | DESIGNTYPE | Gate | Gate | Gate | 23 | fme_feature_type
wCurbStopValve | VALVETYPE | DESIGNTYPE | Roundway | Roundway | Roundway | 0 | fme_feature_type
wCurbStopValve | VALVETYPE | DESIGNTYPE | Gate | Gate | Gate | 23 | fme_feature_type
| DIAMETER | DIAMETER | Other | -1 | Unknown | 0
| DIAMETER | DIAMETER | Unknown | 0 | Unknown | 0
| DIAMETER | DIAMETER | 3/4" | 0.75 | 3/4" | 0.75
| DIAMETER | DIAMETER | 1" | 1 | 1" | 1
| DIAMETER | DIAMETER | 1 1/4" | 1.25 | 1 1/4" | 1.25
| DIAMETER | DIAMETER | 1 1/2" | 1.5 | 1 1/2" | 1.5
| DIAMETER | DIAMETER | 2" | 2 | 2" | 2
| DIAMETER | DIAMETER | 2 1/2" | 2.5 | 2 1/2" | 2.5
| DIAMETER | DIAMETER | 3" | 3 | 3" | 3
| DIAMETER | DIAMETER | 4" | 4 | 4" | 4
| DIAMETER | DIAMETER | 6" | 6 | 6" | 6
| DIAMETER | DIAMETER | 8" | 8 | 8" | 8
| DIAMETER | DIAMETER | 10" | 10 | 10" | 10
| DIAMETER | DIAMETER | 12" | 12 | 12" | 12
| DIAMETER | DIAMETER | 14" | 14 | 14" | 14
| DIAMETER | DIAMETER | 15" | 15 | 15" | 15
| DIAMETER | DIAMETER | 16" | 16 | 16" | 16
| DIAMETER | DIAMETER | 18" | 18 | 18" | 18
| DIAMETER | DIAMETER | 20" | 20 | 20" | 20
| DIAMETER | DIAMETER | 24" | 24 | 24" | 24
| DIAMETER | DIAMETER | 30" | 30 | 30" | 30
| DIAMETER | DIAMETER | 36" | 36 | 36" | 36
| DIAMETER | DIAMETER | 40" | 40 | 40" | 40
| DIAMETER | DIAMETER | 42" | 42 | 42" | 42
| DIAMETER | DIAMETER | 48" | 48 | 48" | 48
| DIAMETER | DIAMETER | 54" | 54 | 54" | 54
| DIAMETER | DIAMETER | 60" | 60 | 60" | 60
| DIAMETER | DIAMETER | 66" | 66 | 66" | 66
| DIAMETER | DIAMETER | 72" | 72 | 72" | 72
| DIAMETER | DIAMETER | 75" | 75 | 75" | 75
| SYMBOLROTATION | SYMBOLROTATION |  | <Null> |  | 0
| ROTATION | ROTATION |  | <Null> |  | 0
| SYMBOLROTATION | SYMBOLROTATION |  | 360 |  | 0
| ROTATION | ROTATION |  | 360 |  | 0
wHydrant | MANUFACTURER | MANUFACTURER | Unknown | Unknown | Unknown | 0
wHydrant | MANUFACTURER | MANUFACTURER | Unknown | <Null> | Unknown | 0
wHydrant | MANUFACTURER | MANUFACTURER | Clow Corporation | Clow Corporation | Clow Corporation | 61
wHydrant | MANUFACTURER | MANUFACTURER | American Darling | American Darling | American Darling | 60
wHydrant | MANUFACTURER | MANUFACTURER | Corey | Corey | Corey | 62
wHydrant | MANUFACTURER | MANUFACTURER | Dresser | Dresser | Dresser | 63
wHydrant | MANUFACTURER | MANUFACTURER | Eddy | Eddy | Eddy | 64
wHydrant | MANUFACTURER | MANUFACTURER | Iowa Valve | Iowa Valve | Iowa Valve | 65
wHydrant | MANUFACTURER | MANUFACTURER | Kennedy Valve | Kennedy Valve | Kennedy Valve | 66
wHydrant | MANUFACTURER | MANUFACTURER | M&H Valve | M&H Valve | M&H Valve | 67
wHydrant | MANUFACTURER | MANUFACTURER | Mueller Company | Mueller Company | Mueller Company | 68
wHydrant | MANUFACTURER | MANUFACTURER | Traverse City | Traverse City | Traverse City | 69
wHydrant | MANUFACTURER | MANUFACTURER | US Pipe | US Pipe | US Pipe | 70
wHydrant | MANUFACTURER | MANUFACTURER | Waterous | Waterous | Waterous | 71
wHydrant | MANUFACTURER | MANUFACTURER | Wood-Matthews | Wood-Matthews | Wood-Matthews | 72
wHydrant | MANUFACTURER | MANUFACTURER | Other | Other | Other | 73
| NORMALPOSITION | NORMALPOSITION |  |  | Closed | 0
| NORMALPOSITION | NORMALPOSITION |  |  | Open | 1
| NORMALPOSITION | NORMALPOSITION |  |  | Inactive | 2
| NORMALPOSITION | NORMALPOSITION |  |  | Active | 3
wSystemValve | NORMALLYOPEN | NORMALLYOPEN | TRUE | 1 | Active | 3
wCurbStopValve | NORMALLYOPEN | NORMALLYOPEN | TRUE | 1 | Open | 1
| ACTIVEFLAG | ACTIVEFLAG | TRUE | 1 | Active | 3
| OWNEDBY | OWNEDBY | Our Agency | 1 | Our Agency | 1
| OWNEDBY | OWNEDBY | Private | -1 | Private | 2
| OWNEDBY | OWNEDBY | Other | -2 | Other | 100
| MAINTBY | MAINTBY | Our Agency | 1 | Our Agency | 1
| MAINTBY | MAINTBY | Private | -1 | Private | 2
| MAINTBY | MAINTBY | Other | -2 | Other | 100
Note on A1: Trent Kading: Trent Kading: Only required if Feature Class specific Domain/Subtype Mapping
Note on B1: Trent Kading: Source Domain Attribute Name. Used as Primary Key Lookup(this is the PK attribute name).
Note on C1: Trent Kading: Target Attribute Name
Note on D1: Trent Kading: Not required. Just to help visualize mapping
Note on E1: Trent Kading: Required Field. This is used as the Primary Key Lookup(this is the PK attribute value). If value is a null, leave blank.
Note on F1: Trent Kading: Not required. Just to help visualize mapping
Note on H1: Trent Kading: Only required if Feature Class specific Domain/Subtype Mapping
Note on I1: Trent Kading: Only required if a secondary filter is required for Domain Mapping. If this is the case, the secondary filter attribute name is placed in this column
Note on J1: Trent Kading: Trent Kading: Only required if a secondary filter is required for Domain Mapping. If this is the case, the secondary filter attribute value is placed in this column

## WaterLine
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue | AssetGroupAttr | AssetGroupValue
assetgroup | ASSETGROUP
assettype | ASSETTYPE
associationstatus
isconnected
fromdeviceterminal
todeviceterminal
creationdate
creator |  | Migration
lastupdate | LASTUPDATE
updatedby
shape
globalid | GLOBALID
installdate | INSTALLDATE
assetid
ownedby | OWNEDBY
maintby | MAINTBY
notes
diameter | DIAMETER
measuredlength
adddetails
lifecyclestatus | LIFECYCLESTATUS
bondedinsulated |  | 2
cptraceability |  | 0
inservicedate
retireddate
material | MATERIAL
cpoverride |  | 2
designtype
spatialsource |  | 0
spatialconfidence |  | 0
cpsubnetworkname | Unknown
systemsubnetworkname | Unknown
pressuresubnetworkname | Unknown
isolationsubnetworkname | Unknown
dmasubnetworkname | Unknown
shape_Length
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## WaterDevice
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue | AssetGroupAttr | AssetGroupValue
associationstatus
issubnetworkcontroller
isconnected
subnetworkcontrollername
tiername
tierrank
terminalconfiguration
creationdate
creator |  | Migration
lastupdate | LASTUPDATE
updatedby
globalid | GLOBALID
diameter | DIAMETER
secondarydiameter
pressure
designtype | MANUFACTURER |  | ASSETGROUP | 7
designtype |  | 0 | ASSETGROUP | 2
designtype |  | 0 | ASSETGROUP | 5
normalstatus |  | 3
presentstatus |  | 3
normalstatus |  | 1 | ASSETGROUP | 2
normalstatus |  | 1 | ASSETGROUP | 9
presentstatus |  | 1 | ASSETGROUP | 2
presentstatus |  | 1 | ASSETGROUP | 9
additionaldetails |  | 2 | ASSETGROUP | 12
additionaldetails |  | 1 | ASSETGROUP | 2
designinfo
operable | OPERABLE | 1
name | NAME
name | STATIONNAME
installdate | INSTALLYEAR
assetid
accountid
ownedby | OWNEDBY | 1
maintby | MAINTBY | 1
additionaldevice |  | 0
notes
symbolrotation | ROTATION | 0
lastmaint
lifecyclestatus | LIFECYCLESTATUS | 0
systemsubnetworkname |  | Unknown
pressuresubnetworkname |  | Unknown
isolationsubnetworkname |  | Unknown
dmasubnetworkname |  | Unknown
cpoverride |  | 1
spatialsource |  | 0
spatialconfidence |  | 0
assetgroup | ASSETGROUP
assettype | ASSETTYPE
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## WaterJunction
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue | AssetGroupAttr | AssetGroupValue
assetgroup | ASSETGROUP
assettype | ASSETTYPE
associationstatus
isconnected
creationdate
creator |  | Migration
lastupdate | LASTUPDATE
updatedby | LASTEDITOR
shape
globalid | GLOBALID
installdate | YEARINSTALL
assetid | FACILITYID
critical
metered
notes
symbolrotation | SYMBOLROTATION | 0
symbolrotation | ROTATION | 0
diameter | DIAMETER
lifecyclestatus | LIFECYCLESTATUS
bondedinsulated |  | 2
cptraceability |  | 0
inservicedate
retireddate
spatialsource |  | 0
spatialconfidence |  | 0
cpsubnetworkname |  | Unknown
systemsubnetworkname |  | Unknown
pressuresubnetworkname |  | Unknown
isolationsubnetworkname |  | Unknown
dmasubnetworkname |  | Unknown
ownedby | OWNEDBY
maintby | MAINTBY
cpoverride |  | 2
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## WaterAssembly
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue
assetgroup
assettype
associationstatus
creationdate
creator
lastupdate
updatedby
globalid
installdate
assetid
notes
locked
symbolrotation |  | 0
lifecyclestatus
systemsubnetworkname |  | Unknown
pressuresubnetworkname |  | Unknown
isolationsubnetworkname |  | Unknown
dmasubnetworkname |  | Unknown
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## StructureLine
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue
assetgroup
assettype
associationstatus
subnetworkname
creationdate
creator
lastupdate
updatedby
globalid
measuredlength
assetid
diameter
lifecyclestatus
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## StructureJunction
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue
assetgroup
assettype
associationstatus
subnetworkname
creationdate
creator
lastupdate
updatedby
globalid
name
assetid
dimension
depth
notes
symbolrotation |  | 0
installdate
lifecyclestatus
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## StructureBoundary
UNAttrName | ArcGISFeatureAttr | UNAttrDefaultValue
objectid
assetgroup
assettype
associationstatus
subnetworkname
creationdate
creator
lastupdate
updatedby
shape
globalid
name
assetid
lifecyclestatus
installdate
inservicedate
retireddate
spatialsource
spatialconfidence
shape_Length
shape_Area
Note on A1: Trent Kading: Required Field
Note on B1: Trent Kading: Required Field
Note on C1: Trent Kading: Optional Field if wanting to set a Default vaule to a new attribute.

## B_TerminalConfiguration_Assign
target domain network | asset group | asset type | configuration name
Water | Controllable Valve | Isolation Zone | Pipe Bidirectional Dual Terminal
Water | Flow Valve | Air Gap | Pipe Bidirectional Dual Terminal
Water | Flow Valve | Altitude | Pipe Bidirectional Dual Terminal
Water | Flow Valve | Check | Pipe Directional Dual Terminal
Water | Meter | Bulk | Pipe Bidirectional Dual Terminal
Water | Meter | DMA | Pipe Bidirectional Dual Terminal
Water | Pressure Valve | Pressure Reducing | Pressure Reducing
Water | Pump | Booster | Pressure Increasing
Water | Pump | Primary | Pressure Increasing
Water | Storage | Standpipe | Pipe Bidirectional Dual Terminal
Water | Storage | Storage Tank | Pipe Bidirectional Dual Terminal
Water | Storage | Tower | Pipe Bidirectional Dual Terminal
Water | Supply | Treatment Plant | Pipe Bidirectional Dual Terminal
Water | Supply | Well | Pipe Bidirectional Dual Terminal
Water | Test Point | Test Point | Terminal Block